EAST BAY municipal Utility District

REQUEST FOR PROPOSAL (RFP)

for

Computerized Maintenance Management System (CMMS) Project

Contact Person: Anupama Agarwal, Project Manager E-mail Address: Anupama.Agarwal@ebmud.com For complete information regarding this project, see RFP posted at https://www.ebmud.com/business-center/requests-proposal-rfps/ or contact the EBMUD representative listed above. Please note that prospective proposers are responsible for reviewing this site during the RFP process, for any published addenda regarding this RFP.

Response due by

4:00 p.m. PST

on

December 4th, 2020

Submit electronically to

Anupama.Agarwal@ebmud.com

EAST Bay Municipal Utility District

RFP

for

Computerized Maintenance Management System (CMMS) Project

TABLE OF CONTENTS

I.	STATEMENT OF WORK	3

A.	SCOPE	3

B.	PROPOSER QUALIFICATIONS	5

C.	SPECIFIC REQUIREMENTS	5

II.	CALENDAR OF EVENTS	6

A.	PROPOSAL CONFERENCE	6

III.	DISTRICT PROCEDURES, TERMS, AND CONDITIONS	6

A.	RFP ACCEPTANCE AND AWARD	6

B.	EVALUATION CRITERIA/SELECTION COMMITTEE	7

C.	PRICING	11

D.	NOTICE OF INTENT TO AWARD AND PROTESTS	11

E.	WARRANTY	12

F.	INVOICING	13

IV.	RFP RESPONSE SUBMITTAL INSTRUCTIONS AND INFORMATION	13

A.	DISTRICT CONTACTS	13

B.	SUBMITTAL OF RFP RESPONSE	13

C.	RESPONSE FORMAT	15

EXHIBITS

EXHIBIT A - RFP RESPONSE PACKET

EXHIBIT B - INSURANCE REQUIREMENTS

EXHIBIT C –GENERAL REQUIREMENTS

ATTACHMENTS

ATTACHMENT A1: FUNCTIONAL REQUIREMENTS (FUNCTIONALITY)

ATTACHMENT A2: FUNCTIONAL REQUIREMENTS (INTERFACES)

ATTACHMENT A3: FUNCTIONAL REQUIREMENTS RESPONSE FORM (EXCEL VERSION)

ATTACHMENT B: TECHNICAL REQUIREMENTS

ATTACHMENT C: EBMUD PSIG

ATTACHMENT D: PRICING WORKSHEET

# STATEMENT OF WORK

## SCOPE

It is the intent of these specifications, terms, and conditions to describe a replacement for our existing Work and Asset Management Systems as described below. Proposers are welcome to bid on any or all parts of the solution.

East Bay Municipal Utility District (District) intends to award a professional services contract to the Proposer(s) who best meets the District’s requirements.

Background:

Over the past two decades, the District has implemented many work and asset management systems to satisfy the different work and asset management functionality needs of different departments. Most of these were developed by the District. These systems primarily support the District’s Operations and Maintenance Department (OMD) and the Wastewater Department (WW) in tracking and supporting the maintenance, repair, construction, and customer response for the water and wastewater facilities that range from small to large and complex systems.

Among the different systems used by the District, there is one for managing and tracking maintenance of the District’s water distribution infrastructure, one for tracking all maintenance for facilities and assets for OMD, and one tracking all maintenance for facilities and assets for WW.

There are also smaller systems which have more targeted functionality such as a system that tracks paving work done, and another which water main shutdowns and road closures.

Most of these systems were programmed by and are supported by District’s Information Systems Department (ISD), with the exception of the aforementioned WW system which is Maximo.

Where possible, they use shared enterprise tables for loose integrations with the existing financial and human resources systems to validate data and minimize data entry. Some of these systems are tightly integrated with the District’s Electronic Timesheet Systems (ETS) in order to provide a single source of labor expenditures.

Some of these systems have also integrated Geographical Information System (GIS) technology.

Those systems developed by the District are primarily implemented with Cold Fusion and Oracle Forms technologies.  That combined with the enhancements made over the previous two decades has made on-going maintenance of and implementation of enhancements to these systems a challenge.

A new consolidated CMMS has the potential to benefit the District in the following areas:

- Improved data collection to support operations, maintenance, and capital decision making: Good data is important for informed operations, maintenance and replacement decisions. The CMMS should support efficient and effective collection of data including the use of mobile devices.

- District-wide Use - Departments beyond OMD, such as Water and Natural Resources, Customer and Community Services, and Wastewater, have work and asset management systems and/or needs that would be better addressed in a consolidated District-wide CMMS.

- Mobile Access - There is a growing need to provide data and work order management in the field. Progress has been made; however, many of the existing work and asset management applications were designed for the desktop and not optimized for mobile use. Moving to modern systems that include mobile technology will facilitate getting data in the hands of staff and system access where they need it, when they need it.

- Work in the Streets - The District has long desired a “work in streets” tool to display on a map and share with our customers, a real-time status and view of EBMUD work in the field for better transparency.  A consolidated CMMS, shared by all groups doing work in the field, is the foundation for delivering this ability.

- Better integration with other systems – Integration with other systems such as District’s Financial Information and Procurement systems would provide more accurate data for cost accounting and materials management.

Primary goals for the CMMS Project are:

- Consolidating various work and asset management systems and information into one or more integrated Computerized Maintenance Management System (CMMS) solutions to better manage its assets, streamline related business processes, gain workforce and field efficiencies, support capital investments, and fully support current and future business needs.

- A new CMMS solution that leverages current technology and supports industry standard processes for maintenance functions, including emergency dispatching, job tracking, order creation, order assignment, order management, time tracking, and task-based reporting.  It should also include a GIS component that facilitates a map-based user interface.  The replacement system must be flexible enough to support the District’s many work groups and staff assignments. It must foster efficient operations and provide information to fulfill regulatory reporting requirements.

- Providing an integrated asset management system for all water and wastewater system assets that documents asset inventories and credible condition assessments for both linear and vertical assets.

- Providing mobile access to systems and data for all field staff that needs it.

- Providing end users with sufficient training to efficiently use the new solution and embrace changes to business processes.

- Aligning with the District’s IT Strategic plan and integrating effectively with the District’s new major replacement systems for Financials, Procurement, and Human Resources; and the District’s existing systems such as Customer Watch (the District’s Customer Information System).

- Providing improved reporting and analysis capabilities, and real time data availability.

## PROPOSER QUALIFICATIONS

    - Proposer Minimum Qualifications

      - Proposer, Proposer’s principal, or Proposer’s staff shall have been regularly engaged in the business of providing enterprise software solutions and implementation services for at least five (5) years.

      - Proposer shall be a certified or authorized manufacturer, dealer, or provider.

      - Proposer shall possess all permits, licenses, and professional credentials necessary to perform services as specified under this RFP.

## SPECIFIC REQUIREMENTS

Please find the specific functional requirement in separate documents entitled -Attachment A1: Functional Requirements (Functionality)

Attachment A2: Functional Requirements (Interfaces)

# CALENDAR OF EVENTS

| EVENT | DATE/LOCATION |
| --- | --- |
| RFP Issue Date: | October 23rd, 2020 |
| RFP Questions Due By Date: | November 6th, 2020 |
| RFP Responses Posted By Date: | November 13th, 2020 |
| RFP Response Due Date: | December 4th, 2020 |

Note:	All dates are subject to change.

Proposers are responsible for reviewing https://www.ebmud.com/business-center/requests-proposal-rfps/ for any published addenda. Hard copies of addenda will not be mailed out.

## PROPOSAL CONFERENCE

Proposal conference may be held to:

    - Allow the District to discuss the scope of the project.

    - Provide an opportunity for Proposers to ask specific questions about the project and request RFP clarifications.

    - Provide the District with an opportunity to receive feedback regarding the project and RFP.

All questions deemed to be pertinent by the District will be addressed in Addenda following the Proposal conference.

# DISTRICT PROCEDURES, TERMS, AND CONDITIONS

## RFP ACCEPTANCE AND AWARD

    - RFP responses will be evaluated by the Selection Committee and will be scored and ranked in accordance with the RFP section entitled “Evaluation Criteria/Selection Committee.”

    - The Selection Committee will recommend award to the Proposer who, in its opinion, has submitted the RFP response that best serves the overall interests of the District. Award may not necessarily be made to the Proposer with the lowest overall cost.

    - The District reserves the right to award to a single or to multiple General or Professional Service Providers, dependent upon what is in the best interest of the District.

    - The District has the right to decline to award this contract or any part of it for any reason.

    - Any specifications, terms, or conditions issued by the District, or those included in the Proposer’s submission, in relation to this RFP, may be incorporated into any purchase order or contract that may be awarded as a result of this RFP.

    - Award of contract. The District reserves the right to reject any or all proposals, to accept one part of a proposal and reject the other, unless the proposer stipulates to the contrary, and to waive minor technical defects and administrative errors, as the interest of the District may require. Award will be made or proposals rejected by the District as soon as possible after proposals have been opened.

## EVALUATION CRITERIA/SELECTION COMMITTEE

All proposals will be evaluated by a Selection Committee. The Selection Committee may be composed of District staff and other parties that have expertise or experience in this type of procurement. The Selection Committee will select a Proposer in accordance with the evaluation criteria set forth in this RFP. The evaluation of the RFP responses shall be within the sole judgment and discretion of the Selection Committee.

The Selection Committee will evaluate each RFP response meeting the qualification requirements set forth in this RFP. Proposer should bear in mind that any RFP response that is unrealistic in terms of the technical or schedule commitments, or unrealistically high or low in cost, will be deemed reflective of an inherent lack of technical competence or indicative of a failure to comprehend the complexity and risk of the District’s requirements as set forth in this RFP.

RFP responses will be evaluated and scored according to the Evaluation Criteria below.

The Evaluation Criteria are as follows:

|  | Evaluation Criteria |
| --- | --- |
|  | Functional Criteria (See Attachments A1, A2 – Functional Requirements): The Proposer is asked to document which features are included in the base version of their solution. An evaluation will be made of those solutions that match District requirements without the need for add-on packages or customization. Main functional areas to be evaluated are listed here; a complete list of all requirements for each functional area is in the attachment A1, A2. - Attachment A1: Functional requirements – This document list the functionality required in the vendor system for tracking maintenance of facilities and assets of District’s Water and Wastewater infrastructure. An evaluation will be made based on whether each functionality listed in this section is existing functionality in the solution, would need customization or is not available at this time. - Attachment A2: Interface requirements – This section lists some of the Interfaces between the vendor’s solution and other District systems. An evaluation will be made based on the capability of the vendor’s solution to meet these interface requirements. |
|  | Technical Criteria (See Attachment B – Technical (Non-Functional) Requirements): An evaluation will be made of the extent to which the proposed solution addresses all non-functional requirements as stated in Attachment B. Some points are highlighted below. - System Security / Authentication - A comparison will be made of the proposed replacement systems, and an evaluation will be made of the design and comprehensive integration of security concepts. - System Usability – An evaluation will be made of the features of the proposed solution that offer enhanced utility, ease of use, reliable performance and application stability. - Software Interfaces - An evaluation will be made of the ease of developing and maintaining industry standard interfaces to existing and new systems. - Data Management - An assessment will be of how the solution addresses the District data management goals. - Business Continuity / Disaster Recovery - An assessment will be made of the scope and extent of the plans. - Implementation Plan and Schedule - An assessment will be made of the completeness and comprehensiveness of the plan and schedule. - Exit Strategy – An assessment will be made of the extent to which the proposer’s organization adheres to the District’s exit strategy requirements. - Technology Stack – An assessment will be made of the extent to which the proposer’s organization supports the District’s technology requirements. |
|  | Information Technology Security Criteria (See Attachment C – Preliminary Security Information Gathering (PSIG): An evaluation will be made of the extent to which the Proposer’s organization addresses District’s IT Security requirements as stated in Attachment C. Some points are highlighted below. - Risk Management - Information Security Policy - Information Security Organization - Physical and Environmental Security - Operational Security - Access Control - Software Development and Maintenance - Incident Management - Business Continuity - Regulatory Compliance - Privacy |
|  | Cost: In addition to bottom line cost, an evaluation may also be made of: - Reasonableness (i.e., does the proposed pricing accurately reflect the Proposer’s effort to meet requirements and objectives?); - Realism (i.e., is the proposed cost appropriate to the nature of the products and services to be provided?); and - Affordability (i.e., the ability of the District to finance this project). - Complexity and predictability of licensing and usage charging scheme. Consideration of price in terms of overall affordability may be controlling in circumstances where two or more RFP responses are otherwise judged to be equal, or when a superior RFP response is at a price that the District cannot afford. |
|  | Implementation Plan and Schedule: An evaluation will be made of the likelihood that the Proposer’s implementation plan and schedule will meet the District’s schedule. Minimal components to be included in the implementation plan are training plan, comprehensive integration and user acceptance test plan, business process reengineering tasks, major implementation milestones and project governance strategy. |
|  | Company and Staff Relevant Experience: RFP responses will be evaluated against the RFP specifications and the questions below: - Do the individuals assigned to the project have experience on similar projects? - Are résumés complete and do they demonstrate backgrounds that would be desirable for individuals engaged in the work the project requires? - How extensive is the applicable education and experience of the personnel designated to work on the project? - Has the company worked with public sector agencies? |
|  | References (See Exhibit A – RFP Response Packet): If a short list process is used for a solicitation, references are only performed on the shortlisted Proposers. Reference check is not included in the preliminary short list evaluation. References from organizations similar to the District should be included. |
|  | Oral Presentation and Interview: The oral interview(s) may consist of standard questions asked of each of the Proposers and specific questions regarding the specific RFP response. Multiple interviews may be requested to clarify proposed solution and implementation approach. |
|  | Understanding of the Project: RFP responses will be evaluated against the RFP specifications and the questions below: - Has the Proposer demonstrated a thorough understanding of the purpose and scope of the project? - How well has the Proposer identified pertinent issues and potential problems related to the project? - Has the Proposer demonstrated that it understands the deliverables the District expects it to provide? - Has the Proposer demonstrated that it understands the District’s time schedule and can meet it? Respondents can, for example, provide a narrative describing their understanding of the challenges, problem resolution strategies and staff management plan. |
|  | Methodology: RFP responses will be evaluated against the RFP specifications and the questions below: - Does the methodology depict a logical approach to fulfilling the requirements of the RFP? - Does the methodology match and contribute to achieving the objectives set out in the RFP? - Does the methodology interface with the District’s time schedule? |
|  | Contract Equity Program: Proposer shall be eligible for SBE preference points if they are a certified small business entity, as described in the guidelines contained in Exhibit A-Contract Equity Program, and they check the appropriate box, requesting preference, in Exhibit A-Proposer Information and Acceptance. |

## PRICING

    - Prices quoted shall be firm for any contract that may be awarded pursuant to this RFP.

    - All prices quoted shall be in United States dollars.

    - Price quotes shall include any and all payment incentives available to the District.

    - Proposers are advised that in the evaluation of cost, if applicable, it will be assumed that the unit price quoted is correct in the case of a discrepancy between the unit price and extended price.

    - Please identify all costs by completing attachment entitled “Attachment D – Pricing Worksheet.” In the event a portion of the Proposer solution is awarded, clarify how pricing would be impacted for the solution.

    - Price to include firm price for 10-years of support, to be documented in the above pricing worksheet.

## NOTICE OF INTENT TO AWARD AND PROTESTS

At the conclusion of the RFP response evaluation process, all entities who submitted a proposal package will be notified in writing by e-mail or USPS mail with the name of the Proposer being recommended for contract award. The document providing this notification is the Notice of Intent to Award.

Negotiations for a Consulting Services Agreement with a “not to exceed” contract price (for time and expenses) will be scheduled shortly after the Notice of Intent to Award. If an Agreement cannot be achieved, the District will proceed to negotiate with the next highest ranked Proposer.

Protests must be in writing and must be received no later than seven (7) business days after the District issues the Notice of Intent to Award. The District will reject the protest as untimely if it is received after this specified time frame. Protests will be accepted from proposers or potential proposers only.

If the protest is mailed and not received by the District, the protesting party bears the burden of proof to submit evidence (e.g., certified mail receipt) that the protest was sent in a timely manner so that it would be received by the District within the RFP protest period.

Proposal protests must contain a detailed and complete written statement describing the reason(s) for protest. The protest must include the name and/or number of the proposal, the name of the firm protesting, and include a name, telephone number, email address and physical address of the protester. If a firm is representing the protester, they shall include their contact information in addition to that of the protesting firm.

Protests must be mailed or hand delivered to the Manager of Purchasing, East Bay Municipal Utility District, 375 Eleventh Street, Oakland, CA  94607 or P.O. Box 24055, Oakland, California 94623. Facsimile and electronic mail protests must be followed by a mailed or hand delivered identical copy of the protest and must arrive within the seven day time limit. Any proposal protest filed with any other District office shall be forwarded immediately to the Manager of Purchasing.

In the event that the protest is denied, the protester can appeal the determination to the requesting organization’s Department Director. The appeal must be submitted to the Department Director no later than five business days from the date of receipt of the requesting organization’s determination on the protest. The appeal shall focus on the points raised in the original protest, and no new points shall be raised in the appeal.

Such an appeal must be made in writing and must include all grounds for the appeal and copies of the original protest and the District’s response. The proposal protester must also send the Purchasing Division a copy of all materials sent to the Department Director.

The Department Director will make a determination of the appeal and respond to the protester by certified mail in a timely manner. If the appeal is denied, the letter will include the date, time, and location of the Board of Directors meeting at which staff will make a recommendation for award and inform the protester it may request to address the Board of Directors at that meeting.

The District may transmit copies of the protest and any attached documentation to all other parties who may be affected by the outcome of the protest. The decision of the District as to the validity of any protest is final. This District’s final decision will be transmitted to all affected parties in a timely manner.

## WARRANTY

    - Proposer expressly warrants that all goods and services to be furnished pursuant to any contract awarded it arising from the Proposal will conform to the descriptions and specifications contained herein and in supplier catalogs, product brochures, and other representations, depictions, or models, and will be free from defects, of merchantable quality, good material, and workmanship. Proposer expressly warrants that all goods and services to be furnished pursuant to such award will be fit and sufficient for the purpose(s) intended. This warranty shall survive any inspections, delivery, acceptance, payment, or contract termination for any reason, by the District. Proposer warrants that all work and services furnished hereunder shall be guaranteed for a period of 5 years from the date of acceptance by the District.

## INVOICING

    - Payment will be made within thirty (30) days following receipt of a correct invoice and upon complete satisfactory receipt of product and/or performance of services.

    - The District will notify the General or Professional Service Provider of any invoice adjustments required.

    - Invoices shall contain, at a minimum, District purchase order number, invoice number, remit to address, and itemized services description.

    - The District will pay General or Professional Service Provider in an amount not to exceed the negotiated amount(s) which will be referenced in the agreement signed by both parties.

# RFP RESPONSE SUBMITTAL INSTRUCTIONS AND INFORMATION

## DISTRICT CONTACTS

All contact during the competitive process is to be through the contact listed on the first page of this RFP. The following persons are to be contacted only for the purposes specified below:

FOR INFORMATION REGARDING TECHNICAL SPECIFICATIONS:

Attn:  Anupama Agarwal, Project Manager

EBMUD-Information Systems Department

E-Mail:  Anupama.Agarwal@ebmud.com

FOR INFORMATION ON THE CONTRACT EQUITY PROGRAM:

Attn:	Contract Equity Office

PHONE:  (510) 287-0114

## SUBMITTAL OF RFP RESPONSE

    - Responses are to be submitted by email to the email address on the cover page and all attachments are to be zipped and named according to vendor name, e.g.: Vendor Name RFP Response.zip.

    - Proposers will receive email confirmation of receipt of responses and all attachments.  If you have not received confirmation within three days, please contact Anupama Agarwal at anupama.agarwal@ebmud.com.

    - Late responses will not be accepted.

    - RFP responses submitted via fax or mail (hard copy) will not be accepted.

    - RFP responses are to be addressed/delivered as follows:

Email to:

Anupama Agarwal

East Bay Municipal Utility District

CMMS Project

Project Management Office

Anupama.agarwal@ebmud.com

Proposer’s name, title, company, and email address must also be included with the response.

    - All costs required for the preparation and submission of an RFP response shall be borne by the Proposer.

    - California Government Code Section 4552:  In submitting an RFP response to a public purchasing body, the Proposer offers and agrees that if the RFP response is accepted, it will assign to the purchasing body all rights, title, and interest in and to all causes of action it may have under Section 4 of the Clayton Act (15 U.S.C. Sec. 15) or under the Cartwright Act (Chapter 2, commencing with Section 16700, of Part 2 of Division 7 of the Business and Professions Code), arising from purchases of goods, materials, or services by the Proposer for sale to the purchasing body pursuant to the RFP response. Such assignment shall be made and become effective at the time the purchasing body tenders final payment to the Proposer.

    - Proposer expressly acknowledges that it is aware that if a false claim is knowingly submitted (as the terms “claim” and “knowingly” are defined in the California False Claims Act, Cal. Gov. Code, §12650 et seq.), the District will be entitled to civil remedies set forth in the California False Claim Act.

    - The RFP response shall remain open to acceptance and is irrevocable for a period of 14 months, unless otherwise specified in the RFP documents.

    - It is understood that the District reserves the right to reject any or all RFP responses.

## RESPONSE FORMAT

    - Responses are to be submitted in Portable Document Format (PDF).  Responses and all attachments are to be zipped and named according to vendor name, e.g.: Vendor Name RFP Response.zip.

    - Proposers shall not modify any part of Exhibits A, B, or C, or qualify their RFP responses. Proposers shall not submit to the District a re-typed or otherwise re-created version of these documents or any other District-provided document.

    - RFP responses, in whole or in part, are NOT to be marked confidential or proprietary. The District may refuse to consider any RFP response or part thereof so marked. RFP responses submitted in response to this RFP may be subject to public disclosure. The District shall not be liable in any way for disclosure of any such records.

### EXHIBIT A

RFP RESPONSE PACKET

RFP For – CMMS Project

To:	The EAST BAY MUNICIPAL UTILITY District (“District”)

From:

(Official Name of Proposer)

RFP RESPONSE PACKET GUIDELINES

- AS DESCRIBED IN SECTION IV- RFP RESPONSE SUBMITTAL INSTRUCTIONS AND INFORMATION, PROPOSERS ARE TO SUBMIT ONE (1) .ZIP FILE CONTAINING THE FOLLOWING, IN .PDF FORMAT, IN THEIR ENTIRETY:

  - EXHIBIT A – RFP RESPONSE PACKET

    - INCLUDING ALL REQUIRED DOCUMENTATION AS DESCRIBED IN “EXHIBIT A- REQUIRED DOCUMENTATION AND SUBMITTALS”

  - ATTACHMENT A1, A2– FUNCTIONAL REQUIREMENTS

- Functional Requirements - Please indicate whether the requirement specified is included in the out-of-the-box (base) product, included as existing functionality. If so, provide the module name.

- Workflows - Please indicate whether the workflow is supported by the out-of-the-box (base) product, included as existing functionality.

- Reporting Requirements - Please indicate whether the requirement specified is included in the out-of-the-box (base) product, included as existing functionality. If so, provide the module name.

Vendors are encouraged to respond whether they offer functional solutions for all or some of the business areas documented. If the Vendor provides solutions to some of the business areas, it is critical to document how your solution will interface with other existing and new systems.

  - ATTACHMENT A3 –  FUNCTIONAL REQUIREMENTS RESPONSE FORM

    - COMPLETE THE RESPONSE FORM IN THE EXCEL VERSION OF THE FUNCTIONAL REQUIREMENTS.

    - NOTE: THE FUNCTIONAL REQUIREMENTS IN ATTACHMENT A3 (EXCEL VERSION) ARE IDENTICAL TO THE REQUIREMENTS IN ATTACHMENT A1 (WORD VERSION). THE EXCEL VERSION IS THE MINIMUM REQUIRED RESPONSE FROM THE VENDOR. THE VENDOR MAY SUBMIT OTHER DOCUMENTS FURTHER EXPLAINING HOW THEIR SOLUTION MEETS THE FUNCTIONAL REQUIREMENTS AND CHOOSE TO REFERENCE THOSE DOCUMENT SECTIONS IN THE EXCEL VERSION.

  - ATTACHMENT B – TECHNICAL (NON-FUNCTIONAL) REQUIREMENTS

    - READ THROUGH THE ENTIRE DOCUMENT AND PROVIDE ANSWERS.

    - IF THE PROPOSED SOLUTION DEVIATES IN ANYWAY FROM THE DOCUMENTED REQUIREMENTS, PLEASE DOCUMENT DIFFERENCES ON A SEPARATE SHEET OF PAPER.

  - ATTACHMENT C – PRELIMINARY SECURITY INFORMATION GATHERING (PSIG)

    - READ THROUGH THE ENTIRE DOCUMENT AND PROVIDE ANSWERS.

  - ATTACHMENT D – PRICING WORKSHEET

    - INSTRUCTIONS ARE INCLUDED IN “ATTACHMENT D- PRICING WORKSHEET” ON HOW TO FILL OUT THE DOCUMENT.

- PROPOSERS THAT DO NOT COMPLY WITH THE REQUIREMENTS, AND/OR SUBMIT AN INCOMPLETE RFP RESPONSE MAY BE SUBJECT TO DISQUALIFICATION AND THEIR RFP RESPONSE REJECTED IN WHOLE.

- IF PROPOSERS ARE MAKING ANY CLARIFICATIONS AND/OR AMENDMENTS, OR TAKING EXCEPTION TO ANY PART OF THIS RFP, THESE MUST BE SUBMITTED IN THE EXCEPTIONS, CLARIFICATIONS, AND AMENDMENTS SECTION OF THIS EXHIBIT A – RFP RESPONSE PACKET. THE DISTRICT, AT ITS SOLE DISCRETION, MAY ACCEPT AMENDMENTS/EXCEPTIONS, OR MAY DEEM THEM TO BE UNACCEPTABLE, THEREBY RENDERING THE RFP RESPONSE DISQUALIFIED.

- PROPOSORS SHALL NOT MODIFY DISTRICT LANGUAGE IN ANY PART OF THIS RFP OR ITS EXHIBITS, NOR SHALL THEY QUALIFY THEIR RFP RESPONSE BY INSERTING THEIR OWN LANGUAGE OR FALSE CLAIMS IN THEIR RESPONSE.  ANY EXCEPTIONS AND CLARIFICATIONS MUST BE PLACED IN THE “EXCEPTIONS/ CLARIFICATIONS” PAGE, NOT BURIED IN THE PROPOSAL ITSELF.”.

#### PROPOSER INFORMATION AND ACCEPTANCE

- The undersigned declares that all RFP documents, including, without limitation, the RFP, Addenda, and Exhibits, have been read and that the terms, conditions, certifications, and requirements are agreed to.

- The undersigned is authorized to offer, and agrees to furnish, the articles and services specified in accordance with the RFP documents.

- The undersigned acknowledges acceptance of all addenda related to this RFP.  List Addenda for this RFP on the line below:

| Addendum # | Date |
| --- | --- |

- The undersigned hereby certifies to the District that all representations, certifications, and statements made by the Proposer, as set forth in this RFP Response Packet and attachments, are true and correct and are made under penalty of perjury pursuant to the laws of California.

- The undersigned acknowledges that the Proposer is, and will be, in good standing in the State of California, with all the necessary licenses, permits, certifications, approvals, and authorizations necessary to perform all obligations in connection with this RFP and associated RFP documents.

- It is the responsibility of each Proposer to be familiar with all of the specifications, terms, and conditions and, if applicable, the site condition. By the submission of an RFP response, the Proposer certifies that if awarded a contract it will make no claim against the District based upon ignorance of conditions or misunderstanding of the specifications.

- Patent indemnity:  General or Professional Service Providers who do business with the District shall hold the District, its Directors, officers, agents, and employees harmless from liability of any nature or kind, including cost and expenses, for infringement or use of any patent, copyright or other proprietary right, secret process, patented or unpatented invention, article, or appliance furnished or used in connection with the contract or purchase order.

- Insurance certificates are not required at the time of submission. However, by signing Exhibit A – RFP Response Packet, the Proposer agrees to meet the minimum insurance requirements stated in the RFP. This documentation must be provided to the District prior to execution of an agreement by the District and shall include an insurance certificate which meets the minimum insurance requirements, as stated in the RFP.

- The undersigned acknowledges that RFP responses, in whole or in part, are NOT to be marked confidential or proprietary. The District may refuse to consider any RFP response or part thereof so marked. RFP responses submitted in response to this RFP may be subject to public disclosure. The District shall not be liable in any way for disclosure of any such records.

- The undersigned Proposer hereby submits this RFP response and binds itself to the District. The RFP, subsequent Addenda, Proposers Response Packet, and any attachments, shall be used to form the basis of a Contract, which once executed shall take precedence.

- The undersigned acknowledges ONE of the following (please check only one box)*:

Proposer is not an SBE nor a DVBE and is ineligible for any Proposal preference; or

Proposer is an SBE or DVBE as described in the Contract Equity Program (CEP) and Equal Employment Opportunity (EEO) Guidelines, and has completed the CEP and EEO forms at the hyperlink contained in the CEP and EEO section of this Exhibit A.

*If no box is checked it will be assumed that the Proposer is ineligible for Proposal preference and none will be given. For additional information on SBE/DVBE Proposal preference please refer to the Contract Equity Program and Equal Employment Opportunity Guidelines at the above referenced hyperlink.

Official Name of Proposer (exactly as it appears on Proposer’s corporate seal and invoice):

Street Address Line 1:

Street Address Line 2:

City:      		State:      		Zip Code:

Webpage:

Type of Entity / Organizational Structure (check one):

Corporation		 Joint Venture

Limited Liability Partnership		 Partnership

Limited Liability Corporation		 Non-Profit / Church

Other:

Jurisdiction of Organization Structure:

Date of Organization Structure:

Federal Tax Identification Number:

Department of Industrial Relations (DIR) Registration Number:

Primary Contact Information:

Name / Title:

Telephone Number:      		Fax Number:

E-mail Address:

Street Address Line 1:

City:      		State:      		Zip Code:

SIGNATURE:

Name and Title of Signer (printed):

Dated this      		day of      		20

#### REQUIRED DOCUMENTATION AND SUBMITTALS

All of the specific documentation listed below is required to be submitted with the Exhibit A – RFP Response Packet. Proposers shall submit all documentation, in the order listed below, and clearly label each section of the RFP response with the appropriate title (i.e. Table of Contents, Letter of Transmittal, Key Personnel, etc.).

  - Letter of Transmittal: RFP response shall include a description of the Proposer’s capabilities and approach in providing its services to the District, and provide a brief synopsis of the highlights of the RFP response and overall benefits to the District. This synopsis should not exceed three (3) pages in length and should be easily understood.

  - Key Personnel: RFP response shall include a complete list of all key personnel associated with the RFP. This list must include all key personnel who will provide services/training to District staff and all key personnel who will provide maintenance and support services. For each person on the list, the following information shall be included:

- The person’s relationship with the Proposer, including job title and years of employment with the Proposer;

- The role that the person will play in connection with the RFP;

- The person’s telephone number, fax number, and e-mail address;

- The person’s educational background; and

- The person’s relevant experience, certifications, and/or merits

  - Description of the Proposed Equipment/System:  RFP response shall include a description of the proposed equipment/system, as it will be finally configured during the term of the contract. The description shall specify how the proposed equipment/system will meet or exceed the requirements of the District and shall explain any advantages that this proposed equipment/system would have over other possible equipment/systems. The description shall include any disadvantages or limitations that the District should be aware of in evaluating the RFP response. Finally, the description shall describe all product warranties provided by the Proposer.

  - Description of the Proposed Services:  RFP response shall include a description of the terms and conditions of services to be provided during the contract term including response times. The description shall contain a basis of estimate for services including its scheduled start and completion dates, the number of Proposer’s and District personnel involved, and the number of hours scheduled for each person. The description shall identify spare or replacement parts that will be required in performing maintenance services, the anticipated location(s) of the spare parts, and how quickly the parts shall be available for repairs. Finally, the description must: (1) specify how the services in the RFP response will meet or exceed the requirements of the District; (2) explain any special resources or approaches that make the services of the Proposer particularly advantageous to the District; and (3) identify any limitations or restrictions of the Proposer in providing the services that the District should be aware of in evaluating its RFP response to this RFP.

  - Implementation Plan and Schedule:  The RFP response shall include an implementation plan and schedule. The plan for implementing the proposed system and services shall include an Acceptance Test Plan. In addition, the plan shall include a detailed schedule indicating how the Proposer will ensure adherence to the timetables for the final system and/or services.

  - Evidence of Qualification Testing:  RFP response provides evidence that the proposed equipment/system has successfully completed the qualification test standard requirements defined in this RFP. Evidence shall include a statement from an Independent Testing Authority (ITA) that both the hardware elements and the software elements of the proposed equipment/system comply with the requirements of the qualification standard. If the equipment/system specified requires the addition of components or features not previously tested by the ITA, the District will determine, in its sole discretion, whether qualification testing of such components or features will be required prior to the award of a contract.

  - Sustainability Statement: Contractors shall submit a statement regarding any sustainable, environmental or socially responsible initiatives or practices that they or their suppliers engage in. This information can be in relation to the specific services or work products solicited via this RFP, or in relation to the manufacture, delivery, or business practices of your firm.

  - References

- Proposers must use the templates in the “References” section of this Exhibit A – RFP Response Packet to provide references.

- References should have similar scope, volume, and requirements to those outlined in these specifications, terms, and conditions.

  - Proposers must verify the contact information for all references provided is current and valid.

  - Proposers are strongly encouraged to notify all references that the District may be contacting them to obtain a reference.

- The District may contact some or all of the references provided in order to determine Proposer’s performance record on work similar to that described in this RFP. The District reserves the right to contact references other than those provided in the RFP response and to use the information gained from them in the evaluation process.

  - ATTACHMENT A1 – FUNCTIONAL REQUIREMENTS (FUNCTIONALITY): To be read in its entirety. Any deviation from the stated requirements is to be documented and submitted.

  - ATTACHMENT A2 – FUNCTIONAL REQUIREMENTS (INTERFACES): To be read in its entirety. Any deviation from the stated requirements is to be documented and submitted.

  - ATTACHMENT A3 – FUNCTIONAL REQUIREMENTS RESPONSE FORM (Excel version): To be completed, at minimum, in its entirety for functional requirements. Proposer may supplement form with separate documents (e.g. images, workflows, lengthy descriptions could be stored separately and referenced in the excel version).

  - ATTACHMENT B – TECHNICAL (NON-FUNCTIONAL) REQUIREMENTS: To be completed in its entirety. Any deviation from the stated requirements is to be documented and submitted.

  - ATTACHMENT C – PRELIMINARY SECURITY INFORMATION GATHERING (PSIG): To be completed in its entirety.

  - ATTACHMENT D – PRICING WORKSHEET: To be completed in its entirety. Include expectations regarding District staff FTE involvement.

  - Additional Information: (optional) Proposer can provide up to two (2) pages of additional information that they consider valuable to their RFP response.

  - Exceptions, Clarifications, Amendments:

- The RFP response shall include a separate section calling out all clarifications, exceptions, and amendments, if any, to the RFP and associated RFP documents, which shall be submitted with the proposer’s RFP response using the template in the “Exceptions, Clarifications, Amendments” section  of this Exhibit A – RFP Response Packet.

- THE DISTRICT IS UNDER NO OBLIGATION TO ACCEPT ANY EXCEPTIONS, AND SUCH EXCEPTIONS MAY BE A BASIS FOR RFP RESPONSE DISQUALIFICATION.

  - Contract Equity Program:

- Every proposer must fill out, sign, and submit the appropriate sections of the Contract Equity Program and Equal Employment Opportunity documents located at the hyperlink contained in the last page of this Exhibit A.  Special attention should be given to completing Form P-25, "Employment Data and Certification". Any proposer needing assistance in completing these forms should contact the District's Contract Equity Office at (510) 287-0114 prior to submitting an RFP response.

RFP For – CMMS Project

Proposer Name:

Proposer must provide a minimum of 3 references.

| Company Name: | Contact Person: |
| --- | --- |
| Address: | Telephone Number: |
| City, State, Zip: | E-mail Address: |
| Services Provided / Date(s) of Service: |  |

| Company Name: | Contact Person: |
| --- | --- |
| Address: | Telephone Number: |
| City, State, Zip: | E-mail Address: |
| Services Provided / Date(s) of Service: |  |

| Company Name: | Contact Person: |
| --- | --- |
| Address: | Telephone Number: |
| City, State, Zip: | E-mail Address: |
| Services Provided / Date(s) of Service: |  |

| Company Name: | Contact Person: |
| --- | --- |
| Address: | Telephone Number: |
| City, State, Zip: | E-mail Address: |
| Services Provided / Date(s) of Service: |  |

| Company Name: | Contact Person: |
| --- | --- |
| Address: | Telephone Number: |
| City, State, Zip: | E-mail Address: |
| Services Provided / Date(s) of Service: |  |

#### EXCEPTIONS, CLARIFICATIONS, AMENDMENTS

RFP For – CMMS Project

Proposer Name:

List below requests for clarifications, exceptions, and amendments, if any, to the RFP and associated RFP documents, and submit with your RFP response.

The District is under no obligation to accept any exceptions and such exceptions may be a basis for RFP response disqualification.

| Reference to: |  |  | Description |
| --- | --- | --- | --- |
| Page No. | Section | Item No. |  |
| p. 23 | D | 1.c. | Proposer takes exception to… |

*Print additional pages as necessary

CONTRACT EQUITY PROGRAM & EQUAL EMPLOYMENT OPPORTUNITY

The District’s Board of Directors adopted the Contract Equity Program (CEP) to enhance equal opportunities for business owners of all races, ethnicities, and genders who are interested in doing business with the District. The program has contracting objectives, serving as the minimum level of expected contract participation for the three availability groups: white-men owned businesses, white-women owned businesses, and ethnic minority owned businesses. The contracting objectives apply to all contracts that are determined to have subcontracting opportunities, and to all General or Professional Service Providers regardless of their race, gender, or ethnicity.

All Contractors and their subcontractors performing work for the District must be Equal Employment Opportunity (EEO) employers, and shall be bound by all laws prohibiting discrimination in employment. There shall be no discrimination against any person, or group of persons, on account of race, color, religion, creed, national origin, ancestry, gender including gender identity or expression, age, marital or domestic partnership status, mental disability, physical disability (including HIV and AIDS), medical condition (including genetic characteristics or cancer), genetic information, or sexual orientation.

Contractor and its subcontractors shall abide by the requirements of 41 CFR §§ 60-1.4(a), 60-300.5(a) and 60-741.5(a). These regulations prohibit discrimination against qualified individuals based on their status as protected veterans or individuals with disabilities, and prohibit discrimination against all individuals based on their race, color, religion, sex, sexual orientation, gender identity, or national origin in the performance of this contract. Moreover, these regulations require that covered prime contractors and subcontractors take affirmative action to employ and advance in employment individuals without regard to race, color, religion, sex, national origin, protected veteran status or disability.

All Contractors shall include the nondiscrimination provisions above in all subcontracts.

Please include the required completed forms with your proposal. Non-compliance with the Guidelines may deem a proposal non-responsive, and therefore, ineligible for contract award. Your firm is responsible for:

- Reading and understanding the CEP guidelines.

- Filling out and submitting with your proposal the appropriate forms.

The CEP guidelines and forms can be found at the following direct link:

Contract Equity Guidelines and Forms

The CEP guidelines and forms can also be downloaded from the District website at the following link:

http://ebmud.com/business-center/contract-equity-program/

If you have questions regarding the Contract Equity Program please call (510) 287-0114.

### EXHIBIT B

INSURANCE REQUIREMENTS

PROPOSER shall take out and maintain during the life of the Agreement all insurance required and PROPOSER shall not commence work until such insurance has been approved by DISTRICT. The proof of insurance shall be on forms provided by DISTRICT directly following these Insurance Requirements.

PROPOSERS are not required to submit completed insurance verification documents with their bid, but will be required to submit them upon notification of award. By signing Exhibit A – RFP Response Packet, the Proposer agrees to meet the minimum insurance requirements stated in the RFP.

- The following provisions applicable to all required insurance:

A.  Prior to the beginning of and throughout the duration of Services, and for any additional period of time as specified below, CONTRACTOR shall, at its sole cost and expense, maintain insurance in conformance with the requirements set forth below.

B.  CONTRACTOR shall provide Verification of Insurance as required by this Agreement by providing the completed Verification of Insurance as requested below signing and submitting this Exhibit B to the DISTRICT. The Exhibit B may be signed by an officer of the CONTRACTOR (Agent) or by the Insurance Broker for the CONTRACTOR. CONTRACTOR shall update Exhibit B throughout the specified term of the insurance required by this Agreement by resubmitting the completed Exhibit B prior to the expiration date of any of the required insurance. The updated Exhibit B shall become a part of the Agreement but shall not require a change order to the Agreement.  The Notice to Proceed shall not be issued, and CONTRACTOR shall not commence Services until such insurance has been accepted by the DISTRICT.

C.  CONTRACTOR shall carry and maintain the minimum insurance requirements as defined in this Agreement. CONTRACTOR shall require any subcontractor to carry and maintain the minimum insurance required in this Agreement to the extent they apply to the scope of the services to be performed by subcontractor.

D.  Acceptance of verification of Insurance by the DISTRICT shall not relieve CONTRACTOR of any of the insurance requirements, nor decrease liability of CONTRACTOR.

E.  The insurance required hereunder may be obtained by a combination of primary, excess and/or umbrella insurance, and all coverage shall be at least as broad as the requirements listed in this Agreement.

F.  Any deductibles, self-insurance, or self-insured retentions (SIRs) applicable to the required insurance coverage must be declared to and accepted by the DISTRICT.

G.  At the option and request of the DISTRICT, CONTRACTOR shall provide documentation of its financial ability to pay the deductible, self-insurance, or SIR.

H.  Any policies with a SIR shall provide that any SIR may be satisfied, in whole or in part, by the DISTRICT or the additional insured at its sole and absolute discretion.

I. Unless otherwise accepted by the DISTRICT, all required insurance must be placed with insurers with a current A.M. Best’s rating of no less than A- V.

J.  CONTRACTOR shall defend the DISTRICT and pay any damages as a result of failure to provide the waiver of subrogation from the insurance carrier.

K.  For any coverage that is provided on a claims-made coverage form (which type of form is permitted only where specified) the retroactive date must be shown and must be before the date of this Agreement, and before the beginning of any Services related to this Agreement.

L.  Insurance must be maintained and updated Verification of Insurance be provided to the DISTRICT before the expiration of insurance by having CONTRACTOR’s insurance broker or agent update, sign and return Exhibit B to the DISTRICT’s contract manager. For all claims-made policies the updated Verification of Insurance must be provided to the DISTRICT for at least three (3) years after expiration of this Agreement.

M.  If claims-made coverage is canceled or non-renewed, and not replaced with another claims-made policy form with a retroactive date prior to the effective date of this Agreement or the start of any Services related to this Agreement, CONTRACTOR must purchase an extended reporting period for a minimum of three (3) years after expiration of the Agreement.

N.  If requested by the DISTRICT, a copy of the policies’ claims reporting requirement must be submitted to the DISTRICT for review.

O.  Where additional insured coverage is required, the additional insured coverage shall be “primary and non-contributory,” and will not seek contribution from the DISTRICT’s insurance or self-insurance.

P.  CONTRACTOR agrees to provide immediate Notice to the DISTRICT of any loss or claim against CONTRACTOR arising out of, pertaining to, or in any way relating to this Agreement, or Services performed under this Agreement. The DISTRICT assumes no obligation or liability by such Notice, but has the right (but not the duty) to monitor the handling of any such claim or claims if they are likely to involve the DISTRICT.

Q.  CONTRACTOR agrees, upon request by the DISTRICT, to provide complete, certified copies of any policies and endorsements within 10 days of such request (copies of policies may be redacted to eliminate premium details.)

R.  It is CONTRACTOR’s responsibility to ensure its compliance with the insurance requirements. Any actual or alleged failure on the part of the DISTRICT to obtain proof of insurance required under this Agreement shall not in any way be construed to be a waiver of any right or remedy of the DISTRICT, in this or any regard.

S. Notice of Cancellation/Non-Renewal/Material Reduction  The insurance requirements hereunder are mandatory and the DISTRICT may, at its sole and absolute discretion, terminate the services provided by CONTRACTOR, should CONTRACTOR breach its obligations to maintain the required coverage and limits set forth in this Agreement. No coverage required hereunder shall be cancelled, non-renewed or materially reduced in coverage or limits without the DISTRICT being provided at least thirty (30) days prior written notice, other than cancellation for the non-payment of premiums, in which event the DISTRICT shall be provided ten (10) days prior written notice. Replacement of coverage with another policy or insurer, without any lapse in coverage or any reduction of the stated requirements does not require notice beyond submission to the DISTRICT of an updated Verification of Insurance which shall be met by having the CONTRACTOR’s insurance broker or agent update, sign and return this EXHIBIT B.

INSURANCE VERIFICATION DOCUMENTS

II. Workers’ Compensation and Employer’s Liability Insurance Coverage

- Workers’ Compensation insurance including Employer’s Liability insurance with minimum limits as follows:

Coverage A.    Statutory Benefits Limits

Coverage B.    Employer’s Liability of not less than:

Bodily Injury by accident:  $1,000,000 each accident

Bodily Injury by disease:    $1,000,000 each employee

Bodily Injury by disease:    $1,000,000 policy limit

- CONTRACTOR’s insurance shall be primary and any insurance or self-insurance procured or maintained by the DISTRICT shall not be required to contribute to it.

- If there is an onsite exposure of injury to CONTRACTOR, subcontractor, and/or subcontractor’s employees under the U.S. Longshore and Harbor Workers' Compensation Act, the Jones Act, or under laws, regulations or statutes applicable to maritime employees, coverage is required for such injuries or claims.

- If CONTRACTOR is self-employed, a sole proprietorship or a partnership, with no employees, and is exempt from carrying Workers’ Compensation Insurance, CONTRACTOR must return the completed Verification of Insurance confirming that CONTRACTOR has no employees and is exempt from the State of California Workers’ Compensation requirements.

- If CONTRACTOR is self-insured with respect to Workers’ Compensation coverage, CONTRACTOR shall provide to the DISTRICT a Certificate of Consent to Self-Insure from the California Department of Industrial Relations. Such self-insurance shall meet the minimum limit requirements and shall waive subrogation rights in favor of the DISTRICT as stated below in section “F.”

- Waiver of Subrogation. Workers’ Compensation policies, including any applicable excess and umbrella insurance, must contain a waiver of subrogation endorsement providing that CONTRACTOR and each insurer waive any and all rights of recovery by subrogation, or otherwise, against the DISTRICT, its directors, board, and committee members, officers, officials, employees, agents, and volunteers. CONTRACTOR shall defend and pay any and all damages, fees, and costs, of any kind arising out of, pertaining to, or in any way relating to CONTRACTOR’s failure to provide waiver of subrogation from the insurance carrier.

Verification of Workers’ Compensation and Employer’s Liability Insurance Coverage

By checking the box and signing below, I hereby verify that the CONTRACTOR is exempt from the State of California’s requirement to carry workers’ compensation insurance. 

As the CONTRACTOR’s insurance broker/agent, I hereby verify that I have reviewed and confirmed that the CONTRACTOR carries workers’ compensation insurance as required by this Agreement, including the relevant provisions applicable to all required insurance.

Self-Insured Retention Amount: $									

Policy Limit:	$

Policy Number:

Policy Period: from:                                                    to:

Insurance Carrier Name:________________________________________________________

Insurance Broker or Agent:  Print Name:___________________________________________

Insurance Broker or Agent’s Signature: ____________________________________________

III.  Commercial General Liability Insurance (“CGL”) Coverage

- CONTRACTOR’s insurance shall be primary and any insurance or self-insurance procured or maintained by the DISTRICT shall not be required to contribute to it.

- The insurance requirements under this Agreement shall be the greater of (1) the minimum coverage and limits specified in this Agreement; or (2) the broader coverage and maximum limits of coverage of any insurance policies or proceeds available to the Named Insured. It is agreed that these insurance requirements shall not in any way act to reduce coverage that is broader or that includes higher limits than the minimums required herein. No representation is made that the minimum insurance requirements of this Agreement are sufficient to cover the obligations of the CONTRACTOR.

- Minimum Requirements. CGL insurance with minimum per occurrence and aggregate limits as follows:

Bodily Injury and Property Damage		 $2,000,000 per occurrence & aggregate

Personal Injury/Advertising Injury    	 $2,000,000 per occurrence & aggregate

Products/Completed Operations	    	  $2,000,000 per occurrence & aggregate

- Coverage must be on an occurrence basis.

- Coverage for Products, and Completed Operations, and Ongoing Operations must be included in the insurance policies and shall not contain any “prior work” coverage limitation or exclusion applicable to any Services performed by CONTRACTOR and/or subcontractor under this Agreement.

- Insurance policies and Additional Insured Endorsement(s) Coverage shall be included for all premises and operations in any way related to this Agreement.

- There will be no exclusion for explosions, collapse, or underground liability (XCU).

- Insurance policies and Additional Insured Endorsement(s) shall not exclude liability and damages to work arising out of, pertaining to, or in any way relating to services performed by Subcontractor on CONTRACTOR’s behalf.

- Contractual liability coverage shall be included and shall not limit, by any modification or endorsement, coverage for liabilities assumed by CONTRACTOR under this Agreement as an “insured contract.”

- Waiver of Subrogation.  The policy shall be endorsed to include a Waiver of Subrogation ensuring that the CONTRACTOR and its insurer(s) waive any rights of recovery by subrogation, or otherwise, against the DISTRICT, its directors, board, and committee members, officers, officials, agents, volunteers, and employees. CONTRACTOR shall defend and pay any and all damages, fees, and costs, of any kind, arising out of, pertaining to, or in any way resulting from CONTRACTOR’s failure to provide the waiver of subrogation from its insurance carrier(s).

- “Independent CONTRACTOR’s Liability” shall not limit coverage for liability and/or damages arising out of, pertaining to, or in any way resulting from Services provided under this Agreement.

To the fullest extent permitted by law, the DISTRICT, its directors, board, and committee members, officers, officials, employees, agents, and volunteers must be covered as Additional Insureds on a primary and noncontributory basis on all underlying, excess and umbrella policies that shall be evidenced in each case by an endorsement. The Additional Insureds must be covered for liability arising in whole, or in part, from any premises, Products, Ongoing Operations, and Completed Operations by or on behalf of CONTRACTOR, in any way related to Services performed under this Agreement.

- A severability of interest provision must apply for all the Additional Insureds, ensuring that CONTRACTOR’s insurance shall apply separately to each insured against whom a claim is made or suit is brought, except with respect to the policies’ limit(s).

Verification of Commercial General Liability (CGL) Insurance Coverage

As the CONTRACTOR’S insurance broker/agent, I hereby verify that I have reviewed and confirmed that the CONTRACTOR carries Commercial General Liability insurance, as required by this Agreement, including the relevant provisions applicable to all required insurance:

Self-Insured: 	Amount: $

Policy Limit: Per Occurrence: $				  Aggregate: $

Policy Number:

Policy Period: from:                                                    to:

Insurance Carrier Name:________________________________________________________

Insurance Broker or Agent:  Print Name:___________________________________________

Insurance Broker or Agent’s Signature: ____________________________________________

IV.	Business Auto Liability Insurance Coverage

CONTRACTOR’s insurance shall be primary and any insurance or self-insurance procured or maintained by the DISTRICT shall not be required to contribute to it.

- The insurance requirements under this Agreement shall be the greater of (1) the minimum coverage and limits specified in this Agreement; or (2) the broader coverage and maximum limits of coverage of any insurance policies or proceeds available to the Named Insured. It is agreed that these insurance requirements shall not in any way act to reduce coverage that is broader or that includes higher limits than the minimums required herein. No representation is made that the minimum insurance requirements of this Agreement are sufficient to cover the obligations of the CONTRACTOR.

- Minimum Requirements.  Auto insurance with minimum coverage and limits as follows:

Each Occurrence Limit (per accident) and in the Aggregate:  		$2,000,000

Bodily Injury and Property Damage:  					$2,000,000

- Coverage must include either “owned, non-owned, and hired” autos or “any” automobile

This provision ensures the policy covers losses arising out of use of company-owned vehicles (“owned autos”), employee’s personal autos (“non-owned autos” meaning not owned by company/insured) or autos that are rented or leased (“hired autos”).

- If CONTRACTOR is transporting hazardous materials or contaminants, evidence of the Motor Carrier Act Endorsement-hazardous materials clean-up (MCS-90, or its equivalent) must be provided.

- If CONTRACTOR’s Scope of Services under this Agreement exposes a potential pollution liability risk related to transport of potential pollutants, seepage, release, escape or discharge of any nature (threatened or actual) of pollutants into the environment arising out of, pertaining to, or in any way related to CONTRACTOR’s and/or Subcontractor’s performance under this Agreement, then Auto Liability Insurance policies must be endorsed to include Transportation Pollution Liability insurance. Alternatively, coverage may be provided under the CONTRACTOR’s Pollution Liability Policies if such policy has no exclusions that would restrict coverage under this Agreement. Coverage shall also include leakage of fuel or other “pollutants” needed for the normal functioning of covered autos.

- To the fullest extent permitted by law, the DISTRICT, its directors, board, and committee  members, officers, officials, employees, agents, and volunteers must be covered as Additional Insureds on a primary and noncontributory basis on all underlying and excess and umbrella policies. The Additional Insureds must be covered for liability arising in whole, or in part, from any premises, Products, Ongoing Operations, and Completed Operations by or on behalf of CONTRACTOR, in any way related to Services performed under this Agreement.

- A severability of interest provision must apply for all the Additional Insureds, ensuring that CONTRACTOR’s insurance shall apply separately to each insured against whom a claim is made or suit is brought, except with respect to the insurer’s limits of liability.

Verification of Business Auto Liability Insurance Coverage

As the CONTRACTOR’S insurance broker/agent, I hereby verify that I have reviewed and confirmed that the CONTRACTOR carries Business Automobile Liability insurance, as required by this Agreement, including the relevant provisions applicable to all required insurance:

Self-Insured: Amount: $

Policy Limit: Per Accident/Occurrence $			Aggregate: $

Policy Number:

Policy Period: from:                                                    to:

Insurance Carrier Name:________________________________________________________

Insurance Broker or Agent:  Print Name:___________________________________________

Insurance Broker or Agent’s Signature: ____________________________________________

V. Technology Errors and Omissions Liability Insurance Coverage

- CONTRACTOR’s insurance shall be primary and any insurance or self-insurance procured or maintained by the DISTRICT shall not be required to contribute to it.

- The insurance requirements under this Agreement shall be the greater of (1) the minimum coverage and limits specified in this Agreement; or (2) the broader coverage and maximum limits of coverage of any insurance policies or proceeds available to the Named Insured. It is agreed that these insurance requirements shall not in any way act to reduce coverage that is broader or that includes higher limits than the minimums required herein. No representation is made that the minimum insurance requirements of this Agreement are sufficient to cover the obligations of the CONTRACTOR.

- Minimum Requirements:  Technology Errors and Omissions Liability Insurance with minimum limits as follows:

Each Claim or Occurrence Limit:      $5,000,000

Aggregate Limit: 	        $5,000,000

D. 	If Coverage is written on a claims-made form, the following shall apply:

1. The retroactive date must be shown, and must be before the date of the Agreement or the beginning of the Services.

2.  Insurance must be maintained and evidence of insurance must be provided for a minimum of three (3) years after completion of the Services.

3.  If claims-made coverage is canceled or non-renewed, and not replaced with another claims-made policies form with a retroactive date prior to the effective date of the Agreement, CONTRACTOR must purchase an extended period of coverage for a minimum of three (3) years after completion of the Services.

E. Coverage shall include, but not be limited to the following:

- Theft, dissemination and/or use of confidential or personally identifiable information (PII), including breach response costs, credit monitoring and regulatory fines and penalties from such theft, dissemination or use of the confidential information;

- Network security liability arising from the unauthorized use of access to, or tampering with computer systems;

- Liability arising from the failure of technology products (software) required under the contract for Contractor to properly perform the services intended;

- Electronic Media Liability arising from personal injury, plagiarism or misappropriation of ideas, domain name infringement or improper deep-linking or framing, and infringement or violation of intellectual property rights;

- Liability arising from the failure to render professional services.

Verification of Technology Errors & Omissions Liability Insurance Coverage

As the CONTRACTOR’S insurance broker/agent, I hereby verify that I have reviewed and confirmed that the CONTRACTOR carries Technology Errors & Omissions Liability insurance as required by this Agreement, including the relevant provisions applicable to all required insurance.

Self-Insured: Amount: $

Policy Limit: Per Claim $				Aggregate: $

Policy Number:

Policy Period: from:                                                    to:

Insurance Carrier Name:________________________________________________________

Insurance Broker or Agent:  Print Name:___________________________________________

Insurance Broker or Agent’s Signature: ___________________________________________

VI. Cyber Liability Insurance Coverage

- CONTRACTOR’s insurance shall be primary and any insurance or self-insurance procured or maintained by the DISTRICT shall not be required to contribute to it.

- The insurance requirements under this Agreement shall be the greater of (1) the minimum coverage and limits specified in this Agreement; or (2) the broader coverage and maximum limits of coverage of any insurance policies or proceeds available to the Named Insured. It is agreed that these insurance requirements shall not in any way act to reduce coverage that is broader or that includes higher limits than the minimums required herein. No representation is made that the minimum insurance requirements of this Agreement are sufficient to cover the obligations of the CONTRACTOR.

- Minimum Requirements:  Cyber Liability Insurance with minimum limits as follows:

Each Claim or Occurrence Limit: $5,000,000

Aggregate Limit:		$5,000,000

D. If Coverage is written on a claims-made form, the following shall apply:

1. The retroactive date must be shown, and must be before the date of the Agreement or the beginning of the Services.

2.  Insurance must be maintained and evidence of insurance must be provided for a minimum of three (3) years after completion of the Services.

3.  If claims-made coverage is canceled or non-renewed, and not replaced with another claims-made policies form with a retroactive date prior to the effective date of the Agreement, CONTRACTOR must purchase an extended period of coverage for a minimum of three (3) years after completion of the Services.

E. Coverage shall include, but not be limited to the following:

  - Liability arising from the theft, dissemination and/or use of confidential information, including but not limited to, personally identifiable information (PII), protected health information (PHI), security codes, access codes, passwords, or personal identification numbers (PINS);

  - Notification costs, credit monitoring and other expert services, regulatory fines and penalties, and defense costs;

  - Network security liability arising from the unauthorized use of, access to, or tampering with computer systems;

  - Liability arising from the introduction of a computer virus into, or otherwise causing damage to vendor (first party) or customer’s (third party) computer, computer system, network or similarly related property and the data, software and programs thereon.

Verification of Cyber Liability Insurance Coverage

As the CONTRACTOR’S insurance broker/agent, I hereby verify that I have reviewed and confirmed that the CONTRACTOR carries Cyber Liability insurance as required by this Agreement, including the relevant provisions applicable to all required insurance.

Self-Insured: Amount: $

Policy Limit: Per Claim $				Aggregate: $

Policy Number:

Policy Period: from:                                                    to:

Insurance Carrier Name:________________________________________________________

Insurance Broker or Agent:  Print Name:___________________________________________

Insurance Broker or Agent’s Signature: ____________________________________________

VII.  Excess and/or Umbrella Liability Insurance Coverage

- CONTRACTOR’s insurance shall be primary and any insurance or self-insurance procured or maintained by the DISTRICT shall not be required to contribute to it.

B. The insurance requirements under this Agreement shall be the greater of (1) the minimum coverage and limits specified in this Agreement; or (2) the broader coverage and maximum limits of coverage of any insurance policies or proceeds available to the Named Insured. It is agreed that these insurance requirements shall not in any way act to reduce coverage that is broader or that includes higher limits than the minimums required herein. No representation is made that the minimum insurance requirements of this Agreement are sufficient to cover the obligations of the CONTRACTOR.

C. Minimum Requirements:  It is expressly understood by the parties that CONTRACTOR’s Excess and/or Umbrella Liability policies shall, at minimum, comply with all insurance requirements set forth within this Agreement.

1. Coverage for Products, Completed Operations, and Ongoing Operations must be included in the insurance policies and shall not contain any “prior work” coverage limitation or exclusion applicable to any Services performed under this Agreement and, if it is a claims-made policy, it must be maintained for a minimum of three (3) years following final completion of the Services.

2. Coverage shall be included for all premises and operations in any way related to this Agreement.

3. There will be no exclusion for explosions, collapse, or underground damage (XCU).

4. Insurance policies and Additional Insured Endorsements shall not exclude coverage for liability and damages from services performed by Subcontractor on CONTRACTOR’s behalf.

5. Contractual liability coverage shall be included and shall not limit, by any modification or

endorsement, coverage for liabilities assumed by CONTRACTOR under this Agreement as an “insured contract.”

6. “Independent CONTRACTOR’s Liability” shall not limit coverage for liability and/or damage arising out of, pertaining to, or in any way related to Services provided under this Agreement.

7. To the fullest extent permitted by law, the DISTRICT, its directors, officers, officials, agents, volunteers, and employees must be covered as Additional Insureds on a primary and noncontributory basis on all excess and umbrella policies. The Additional Insureds must be covered for liability arising in whole or in part from any premises, Products, Ongoing Operations, and Completed Operations by or on behalf of CONTRACTOR, in any way related to Services performed under this Agreement.

8. A severability of interest provision must apply for all the Additional Insureds, ensuring that the CONTRACTOR’s insurance shall apply separately to each insured against whom a claim is made or suit is brought, except with respect to the policy’s limits.

9. CONTRACTOR and its excess and/or umbrella Liability insurance coverage must waive any rights of subrogation against the DISTRICT, its directors, officers, officials, employees, agents, and volunteers, and CONTRACTOR shall defend and pay any damages as a result of failure to provide the waiver of subrogation from the insurance carrier(s).

D. CONTRACTOR shall defend and pay any damages as a result of failure to provide the waiver of subrogation from the insurance carrier(s).

Verification of Excess and/or Umbrella Liability Insurance Coverage

As the CONTRACTOR’S insurance broker/agent, I hereby verify that I have reviewed and confirmed that the CONTRACTOR carries Excess and/or Umbrella Liability insurance, as required by this Agreement, including the relevant provisions applicable to all required insurance.

Self-Insured: 	Amount: $

Policy Number:

Policy Period: from:                                                    to:

Insurance Carrier Name:________________________________________________________

Insurance Broker or Agent:  Print Name:___________________________________________

Insurance Broker or Agent’s Signature: ____________________________________________